- EWFR-16* – Pedestal mounted, freeze resistant eyewash with stainless steel bowl, Schedule 40 galvanized pipe and fittings, powder-coated cast aluminum flag handle and floor flange, and ¾” IPS freeze resistant stay-open bury valve with push plates (36” standard bury depth) and a 1/8” NPT bleed outlet.  Unit shall have (2) polypropylene GS-Plus™ spray heads with integral “flip-top” dust covers, filters and 1.6 GPM flow control orifices mounted on a chrome-plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment GFR1825