- SSFR-20* –Freeze resistant, combination eye/face wash and shower safety station with stainless steel bowl and ABS plastic shower head (optional stainless steel shower head “SSH”), internal 20 GPM flow control, Schedule 40 galvanized pipe and fittings, 1¼” and ¾” IPS freeze resistant stay-open bury valves with push plates (36” standard bury depth), and 1/8” NPT bleed outlet.  Unit shall have (4) polypropylene GS-Plus™ spray heads with integral “flip-top” dust covers, filters and 1.6 GPM flow control orifices mounted on a chrome-plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment GFR1909 and GFR1909SSH